## CapEx Breakdown
Category | Subcategory | Capacity/Units | Unit Cost | Total Cost | Notes
Equipment | ASIC Miners | 2.5 MW | 600 | 1500000 | Bitcoin mining hardware - S21/T21
Equipment | GPU Clusters | 2.5 MW | 700 | 1750000 | AI/ML workloads - A6000/H100 mix
Equipment | Network Equipment | 5 MW | 100 | 500000 | Switches, routers, security
Equipment | Servers & Storage | 5 MW | 50 | 250000 | Management and storage
|  |  | Equipment Subtotal: | 4000000
Facility | Modular Construction | 5000 sq ft | 200 | 1000000 | Pre-fab datacenter modules
Facility | Site Preparation | 1 lot | 150000 | 150000 | Foundation, access roads
Facility | Security & Access | 1 facility | 80000 | 80000 | Cameras, access control
|  |  | Facility Subtotal: | 1230000
Power & Cooling | Geothermal Connection | 5 MW | 200 | 1000000 | LaGeo PPA infrastructure
Power & Cooling | Battery Storage | 1000 kWh | 400 | 400000 | Grid stabilization
Power & Cooling | Gas Generators | 2 MW | 400 | 800000 | Emergency backup
Power & Cooling | HVAC Systems | 5 MW | 200 | 1000000 | Cooling with heat recovery
Power & Cooling | Electrical Distribution | 5 MW | 180 | 900000 | Transformers, switchgear
|  |  | Power & Cooling Subtotal: | 4100000
Legal & Admin | Permits & Legal | 1 project | 200000 | 200000 | Government approvals
Legal & Admin | Professional Services | 1 project | 120000 | 120000 | Engineering, consulting
|  |  | Legal & Admin Subtotal: | 320000
|  |  | Base Project Cost: | 9650000
Contingency | 10% Buffer |  |  | 965000 | Risk mitigation
|  |  | Total 5MW CapEx: | 10615000
Target Optimization | Value Engineering |  |  | -4615000 | Modular & local partnerships
|  |  | Strategic Target CapEx: | 6000000 | Investor-ready 5MW deployment

## Monthly Revenue Forecast
Month | GPU Leasing | ASIC Mining | Spa Income | Monthly Total | Annualized
Y1M01 | 85000 | 22500 | 2500 | 110000 | 1320000
Y1M02 | 85425 | 23829.8409 | 2525 | 111779.8409 | 1341358.0912
Y1M03 | 85850 | 25040.8911 | 2550 | 113440.8911 | 1361290.6936
Y1M04 | 86275 | 26024.9711 | 2575 | 114874.9711 | 1378499.6531
Y1M05 | 86700 | 26694.1759 | 2600 | 115994.1759 | 1391930.1106
Y1M06 | 87125 | 26988.7274 | 2625 | 116738.7274 | 1400864.7293
Y1M07 | 87550 | 26882.3143 | 2650 | 117082.3143 | 1404987.7721
Y1M08 | 87975 | 26384.4421 | 2675 | 117034.4421 | 1404413.3058
Y1M09 | 88400 | 25539.5843 | 2700 | 116639.5843 | 1399675.0117
Y1M10 | 88825 | 24423.2095 | 2725 | 115973.2095 | 1391678.5135
Y1M11 | 89250 | 23135.04 | 2750 | 115135.04 | 1381620.4804
Y1M12 | 89675 | 21790.1444 | 2775 | 114240.1444 | 1370881.7325
Y2M01 | 90100 | 20508.658 | 2800 | 113408.658 | 1360903.8961
Y2M02 | 90525 | 19405.0523 | 2825 | 112755.0523 | 1353060.6274
Y2M03 | 90950 | 18577.909 | 2850 | 112377.909 | 1348534.9083
Y2M04 | 91375 | 18101.1145 | 2875 | 112351.1145 | 1348213.3736
Y2M05 | 91800 | 18017.2593 | 2900 | 112717.2593 | 1352607.1111
Y2M06 | 92225 | 18333.8339 | 2925 | 113483.8339 | 1361806.0072
Y2M07 | 92650 | 19022.5598 | 2950 | 114622.5598 | 1375470.7177
Y2M08 | 93075 | 20021.9151 | 2975 | 116071.9151 | 1392862.9807
Y2M09 | 93500 | 21242.6303 | 3000 | 117742.6303 | 1412911.5631
Y2M10 | 93925 | 22575.6626 | 3025 | 119525.6626 | 1434307.9506
Y2M11 | 94350 | 23901.9361 | 3050 | 121301.9361 | 1455623.2336
Y2M12 | 94775 | 25102.9789 | 3075 | 122952.9789 | 1475435.7473
Y3M01 | 95200 | 26071.5054 | 3100 | 124371.5054 | 1492458.0646
Y3M02 | 95625 | 26720.9999 | 3125 | 125470.9999 | 1505651.9987
Y3M03 | 96050 | 26993.4451 | 3150 | 126193.4451 | 1514321.3407
Y3M04 | 96475 | 26864.5041 | 3175 | 126514.5041 | 1518174.0498
Y3M05 | 96900 | 26345.6951 | 3200 | 126445.6951 | 1517348.341
Y3M06 | 97325 | 25483.3615 | 3225 | 126033.3615 | 1512400.3384
Y3M07 | 97750 | 24354.5332 | 3250 | 125354.5332 | 1504254.3982
Y3M08 | 98175 | 23060.0449 | 3275 | 124510.0449 | 1494120.5389
Y3M09 | 98600 | 21715.5295 | 3300 | 123615.5295 | 1483386.3538
Y3M10 | 99025 | 20441.0885 | 3325 | 122791.0885 | 1473493.0617
Y3M11 | 99450 | 19350.5639 | 3350 | 122150.5639 | 1465806.7669
Y3M12 | 99875 | 18541.3691 | 3375 | 121791.3691 | 1461496.429
Y4M01 | 100300 | 18085.787 | 3400 | 121785.787 | 1461429.4436
Y4M02 | 100725 | 18024.5134 | 3425 | 122174.5134 | 1466094.1602
Y4M03 | 101150 | 18363.0216 | 3450 | 122963.0216 | 1475556.2596
Y4M04 | 101575 | 19071.0739 | 3475 | 124121.0739 | 1489452.8865
Y4M05 | 102000 | 20085.4219 | 3500 | 125585.4219 | 1507025.0624
Y4M06 | 102425 | 21315.4569 | 3525 | 127265.4569 | 1527185.4833
Y4M07 | 102850 | 22651.3037 | 3550 | 129051.3037 | 1548615.6445
Y4M08 | 103275 | 23973.635 | 3575 | 130823.635 | 1569883.6197
Y4M09 | 103700 | 25164.3308 | 3600 | 132464.3308 | 1589571.9698
Y4M10 | 104125 | 26117.0299 | 3625 | 133867.0299 | 1606404.359
Y4M11 | 104550 | 26746.6305 | 3650 | 134946.6305 | 1619359.5661
Y4M12 | 104975 | 26996.8922 | 3675 | 135646.8922 | 1627762.707
Y5M01 | 105400 | 26845.46 | 3700 | 135945.46 | 1631345.5199
Y5M02 | 105825 | 26305.8607 | 3725 | 135855.8607 | 1630270.3289
Y5M03 | 106250 | 25426.2953 | 3750 | 135426.2953 | 1625115.5434
Y5M04 | 106675 | 24285.3326 | 3750 | 134710.3326 | 1616523.9909
Y5M05 | 107100 | 22984.8914 | 3750 | 133834.8914 | 1606018.6972
Y5M06 | 107525 | 21641.1364 | 3750 | 132916.1364 | 1594993.6366
Y5M07 | 107950 | 20374.1011 | 3750 | 132074.1011 | 1584889.2127
Y5M08 | 108375 | 19296.966 | 3750 | 131421.966 | 1577063.5915
Y5M09 | 108800 | 18505.9483 | 3750 | 131055.9483 | 1572671.3802
Y5M10 | 109225 | 18071.7075 | 3750 | 131046.7075 | 1572560.4897
Y5M11 | 109650 | 18033.0328 | 3750 | 131433.0328 | 1577196.3935
Y5M12 | 110075 | 18393.379 | 3750 | 132218.379 | 1586620.5477

## Operating Expenses
Month | Energy | Staff | Maintenance | Insurance | Connectivity | Other | Total OpEx
Y1M01 | 153000 | 13000 | 8000 | 3000 | 4000 | 4000 | 185000
Y1M02 | 153252.6919 | 13021.4706 | 8013.2127 | 3004.9547 | 4006.6063 | 4006.6063 | 185305.5425
Y1M03 | 153505.8012 | 13042.9766 | 8026.4471 | 3009.9177 | 4013.2236 | 4013.2236 | 185611.5897
Y1M04 | 153759.3285 | 13064.5181 | 8039.7035 | 3014.8888 | 4019.8517 | 4019.8517 | 185918.1423
Y1M05 | 154013.2746 | 13086.0952 | 8052.9817 | 3019.8681 | 4026.4908 | 4026.4908 | 186225.2013
Y1M06 | 154267.64 | 13107.708 | 8066.2818 | 3024.8557 | 4033.1409 | 4033.1409 | 186532.7673
Y1M07 | 154522.4256 | 13129.3564 | 8079.604 | 3029.8515 | 4039.802 | 4039.802 | 186840.8414
Y1M08 | 154777.6319 | 13151.0406 | 8092.9481 | 3034.8555 | 4046.474 | 4046.474 | 187149.4242
Y1M09 | 155033.2597 | 13172.7606 | 8106.3142 | 3039.8678 | 4053.1571 | 4053.1571 | 187458.5167
Y1M10 | 155289.3098 | 13194.5165 | 8119.7025 | 3044.8884 | 4059.8512 | 4059.8512 | 187768.1197
Y1M11 | 155545.7827 | 13216.3083 | 8133.1128 | 3049.9173 | 4066.5564 | 4066.5564 | 188078.234
Y1M12 | 155802.6792 | 13238.1361 | 8146.5453 | 3054.9545 | 4073.2727 | 4073.2727 | 188388.8605
Y2M01 | 156060 | 13260 | 8160 | 3060 | 4080 | 4080 | 188700
Y2M02 | 156317.7458 | 13281.9 | 8173.4769 | 3065.0538 | 4086.7385 | 4086.7385 | 189011.6534
Y2M03 | 156575.9172 | 13303.8361 | 8186.9761 | 3070.116 | 4093.488 | 4093.488 | 189323.8215
Y2M04 | 156834.5151 | 13325.8085 | 8200.4975 | 3075.1866 | 4100.2488 | 4100.2488 | 189636.5052
Y2M05 | 157093.5401 | 13347.8171 | 8214.0413 | 3080.2655 | 4107.0207 | 4107.0207 | 189949.7053
Y2M06 | 157352.9928 | 13369.8621 | 8227.6075 | 3085.3528 | 4113.8037 | 4113.8037 | 190263.4227
Y2M07 | 157612.8741 | 13391.9435 | 8241.196 | 3090.4485 | 4120.598 | 4120.598 | 190577.6582
Y2M08 | 157873.1845 | 13414.0614 | 8254.807 | 3095.5526 | 4127.4035 | 4127.4035 | 190892.4127
Y2M09 | 158133.9249 | 13436.2158 | 8268.4405 | 3100.6652 | 4134.2203 | 4134.2203 | 191207.687
Y2M10 | 158395.096 | 13458.4068 | 8282.0965 | 3105.7862 | 4141.0483 | 4141.0483 | 191523.4821
Y2M11 | 158656.6984 | 13480.6345 | 8295.7751 | 3110.9157 | 4147.8875 | 4147.8875 | 191839.7987
Y2M12 | 158918.7328 | 13502.8989 | 8309.4762 | 3116.0536 | 4154.7381 | 4154.7381 | 192156.6377
Y3M01 | 159181.2 | 13525.2 | 8323.2 | 3121.2 | 4161.6 | 4161.6 | 192474
Y3M02 | 159444.1007 | 13547.538 | 8336.9464 | 3126.3549 | 4168.4732 | 4168.4732 | 192791.8865
Y3M03 | 159707.4356 | 13569.9128 | 8350.7156 | 3131.5183 | 4175.3578 | 4175.3578 | 193110.2979
Y3M04 | 159971.2054 | 13592.3246 | 8364.5075 | 3136.6903 | 4182.2537 | 4182.2537 | 193429.2353
Y3M05 | 160235.4109 | 13614.7735 | 8378.3221 | 3141.8708 | 4189.1611 | 4189.1611 | 193748.6994
Y3M06 | 160500.0527 | 13637.2594 | 8392.1596 | 3147.0599 | 4196.0798 | 4196.0798 | 194068.6911
Y3M07 | 160765.1315 | 13659.7824 | 8406.02 | 3152.2575 | 4203.01 | 4203.01 | 194389.2114
Y3M08 | 161030.6482 | 13682.3427 | 8419.9032 | 3157.4637 | 4209.9516 | 4209.9516 | 194710.2609
Y3M09 | 161296.6034 | 13704.9402 | 8433.8093 | 3162.6785 | 4216.9047 | 4216.9047 | 195031.8408
Y3M10 | 161562.9979 | 13727.575 | 8447.7385 | 3167.9019 | 4223.8692 | 4223.8692 | 195353.9517
Y3M11 | 161829.8323 | 13750.2472 | 8461.6906 | 3173.134 | 4230.8453 | 4230.8453 | 195676.5946
Y3M12 | 162097.1074 | 13772.9568 | 8475.6657 | 3178.3747 | 4237.8329 | 4237.8329 | 195999.7704
Y4M01 | 162364.824 | 13795.704 | 8489.664 | 3183.624 | 4244.832 | 4244.832 | 196323.48
Y4M02 | 162632.9827 | 13818.4887 | 8503.6854 | 3188.882 | 4251.8427 | 4251.8427 | 196647.7242
Y4M03 | 162901.5843 | 13841.3111 | 8517.7299 | 3194.1487 | 4258.8649 | 4258.8649 | 196972.5039
Y4M04 | 163170.6295 | 13864.1711 | 8531.7976 | 3199.4241 | 4265.8988 | 4265.8988 | 197297.82
Y4M05 | 163440.1191 | 13887.0689 | 8545.8886 | 3204.7082 | 4272.9443 | 4272.9443 | 197623.6734
Y4M06 | 163710.0537 | 13910.0046 | 8560.0028 | 3210.0011 | 4280.0014 | 4280.0014 | 197950.065
Y4M07 | 163980.4342 | 13932.9781 | 8574.1403 | 3215.3026 | 4287.0702 | 4287.0702 | 198276.9956
Y4M08 | 164251.2612 | 13955.9895 | 8588.3012 | 3220.613 | 4294.1506 | 4294.1506 | 198604.4662
Y4M09 | 164522.5355 | 13979.039 | 8602.4855 | 3225.9321 | 4301.2428 | 4301.2428 | 198932.4776
Y4M10 | 164794.2579 | 14002.1265 | 8616.6932 | 3231.26 | 4308.3466 | 4308.3466 | 199261.0307
Y4M11 | 165066.429 | 14025.2521 | 8630.9244 | 3236.5966 | 4315.4622 | 4315.4622 | 199590.1265
Y4M12 | 165339.0496 | 14048.416 | 8645.1791 | 3241.9421 | 4322.5895 | 4322.5895 | 199919.7659
Y5M01 | 165612.1205 | 14071.6181 | 8659.4573 | 3247.2965 | 4329.7286 | 4329.7286 | 200249.9496
Y5M02 | 165885.6424 | 14094.8585 | 8673.7591 | 3252.6597 | 4336.8795 | 4336.8795 | 200580.6787
Y5M03 | 166159.616 | 14118.1373 | 8688.0845 | 3258.0317 | 4344.0422 | 4344.0422 | 200911.954
Y5M04 | 166434.0421 | 14141.4546 | 8702.4336 | 3263.4126 | 4351.2168 | 4351.2168 | 201243.7764
Y5M05 | 166708.9215 | 14164.8103 | 8716.8064 | 3268.8024 | 4358.4032 | 4358.4032 | 201576.1469
Y5M06 | 166984.2548 | 14188.2047 | 8731.2029 | 3274.2011 | 4365.6014 | 4365.6014 | 201909.0663
Y5M07 | 167260.0429 | 14211.6376 | 8745.6232 | 3279.6087 | 4372.8116 | 4372.8116 | 202242.5355
Y5M08 | 167536.2864 | 14235.1093 | 8760.0673 | 3285.0252 | 4380.0336 | 4380.0336 | 202576.5555
Y5M09 | 167812.9862 | 14258.6197 | 8774.5352 | 3290.4507 | 4387.2676 | 4387.2676 | 202911.1271
Y5M10 | 168090.143 | 14282.169 | 8789.0271 | 3295.8852 | 4394.5135 | 4394.5135 | 203246.2514
Y5M11 | 168367.7575 | 14305.7572 | 8803.5429 | 3301.3286 | 4401.7714 | 4401.7714 | 203581.9291
Y5M12 | 168645.8306 | 14329.3843 | 8818.0826 | 3306.781 | 4409.0413 | 4409.0413 | 203918.1612

## ROI Timeline
Month | Revenue | OpEx | Net Cash Flow | Cumulative CF | Net Position | ROI % | Payback
Y1M01 | 110000 | 185000 | -75000 | -75000 | -6075000 | -1.25% | NO
Y1M02 | 111779.8409 | 185305.5425 | -73525.7016 | -148525.7016 | -6148525.7016 | -2.475% | NO
Y1M03 | 113440.8911 | 185611.5897 | -72170.6986 | -220696.4002 | -6220696.4002 | -3.678% | NO
Y1M04 | 114874.9711 | 185918.1423 | -71043.1712 | -291739.5714 | -6291739.5714 | -4.862% | NO
Y1M05 | 115994.1759 | 186225.2013 | -70231.0254 | -361970.5968 | -6361970.5968 | -6.033% | NO
Y1M06 | 116738.7274 | 186532.7673 | -69794.0399 | -431764.6367 | -6431764.6367 | -7.196% | NO
Y1M07 | 117082.3143 | 186840.8414 | -69758.527 | -501523.1637 | -6501523.1637 | -8.359% | NO
Y1M08 | 117034.4421 | 187149.4242 | -70114.982 | -571638.1458 | -6571638.1458 | -9.527% | NO
Y1M09 | 116639.5843 | 187458.5167 | -70818.9324 | -642457.0782 | -6642457.0782 | -10.71% | NO
Y1M10 | 115973.2095 | 187768.1197 | -71794.9102 | -714251.9884 | -6714251.9884 | -11.9% | NO
Y1M11 | 115135.04 | 188078.234 | -72943.1939 | -787195.1823 | -6787195.1823 | -13.12% | NO
Y1M12 | 114240.1444 | 188388.8605 | -74148.7161 | -861343.8984 | -6861343.8984 | -14.36% | NO
Y2M01 | 113408.658 | 188700 | -75291.342 | -936635.2404 | -6936635.2404 | -15.61% | NO
Y2M02 | 112755.0523 | 189011.6534 | -76256.6011 | -1012891.8415 | -7012891.8415 | -16.88% | NO
Y2M03 | 112377.909 | 189323.8215 | -76945.9125 | -1089837.754 | -7089837.754 | -18.16% | NO
Y2M04 | 112351.1145 | 189636.5052 | -77285.3907 | -1167123.1447 | -7167123.1447 | -19.45% | NO
Y2M05 | 112717.2593 | 189949.7053 | -77232.446 | -1244355.5908 | -7244355.5908 | -20.74% | NO
Y2M06 | 113483.8339 | 190263.4227 | -76779.5887 | -1321135.1795 | -7321135.1795 | -22.02% | NO
Y2M07 | 114622.5598 | 190577.6582 | -75955.0984 | -1397090.2779 | -7397090.2779 | -23.28% | NO
Y2M08 | 116071.9151 | 190892.4127 | -74820.4976 | -1471910.7755 | -7471910.7755 | -24.53% | NO
Y2M09 | 117742.6303 | 191207.687 | -73465.0568 | -1545375.8323 | -7545375.8323 | -25.76% | NO
Y2M10 | 119525.6626 | 191523.4821 | -71997.8195 | -1617373.6518 | -7617373.6518 | -26.96% | NO
Y2M11 | 121301.9361 | 191839.7987 | -70537.8625 | -1687911.5143 | -7687911.5143 | -28.13% | NO
Y2M12 | 122952.9789 | 192156.6377 | -69203.6588 | -1757115.1731 | -7757115.1731 | -29.29% | NO
Y3M01 | 124371.5054 | 192474 | -68102.4946 | -1825217.6677 | -7825217.6677 | -30.42% | NO
Y3M02 | 125470.9999 | 192791.8865 | -67320.8866 | -1892538.5542 | -7892538.5542 | -31.54% | NO
Y3M03 | 126193.4451 | 193110.2979 | -66916.8529 | -1959455.4071 | -7959455.4071 | -32.66% | NO
Y3M04 | 126514.5041 | 193429.2353 | -66914.7311 | -2026370.1383 | -8026370.1383 | -33.77% | NO
Y3M05 | 126445.6951 | 193748.6994 | -67303.0043 | -2093673.1426 | -8093673.1426 | -34.89% | NO
Y3M06 | 126033.3615 | 194068.6911 | -68035.3296 | -2161708.4722 | -8161708.4722 | -36.03% | NO
Y3M07 | 125354.5332 | 194389.2114 | -69034.6782 | -2230743.1503 | -8230743.1503 | -37.18% | NO
Y3M08 | 124510.0449 | 194710.2609 | -70200.216 | -2300943.3664 | -8300943.3664 | -38.35% | NO
Y3M09 | 123615.5295 | 195031.8408 | -71416.3113 | -2372359.6776 | -8372359.6776 | -39.54% | NO
Y3M10 | 122791.0885 | 195353.9517 | -72562.8632 | -2444922.5409 | -8444922.5409 | -40.75% | NO
Y3M11 | 122150.5639 | 195676.5946 | -73526.0307 | -2518448.5716 | -8518448.5716 | -41.97% | NO
Y3M12 | 121791.3691 | 195999.7704 | -74208.4014 | -2592656.973 | -8592656.973 | -43.21% | NO
Y4M01 | 121785.787 | 196323.48 | -74537.693 | -2667194.666 | -8667194.666 | -44.45% | NO
Y4M02 | 122174.5134 | 196647.7242 | -74473.2108 | -2741667.8768 | -8741667.8768 | -45.69% | NO
Y4M03 | 122963.0216 | 196972.5039 | -74009.4823 | -2815677.3591 | -8815677.3591 | -46.93% | NO
Y4M04 | 124121.0739 | 197297.82 | -73176.7461 | -2888854.1052 | -8888854.1052 | -48.15% | NO
Y4M05 | 125585.4219 | 197623.6734 | -72038.2515 | -2960892.3567 | -8960892.3567 | -49.35% | NO
Y4M06 | 127265.4569 | 197950.065 | -70684.608 | -3031576.9648 | -9031576.9648 | -50.53% | NO
Y4M07 | 129051.3037 | 198276.9956 | -69225.6919 | -3100802.6566 | -9100802.6566 | -51.68% | NO
Y4M08 | 130823.635 | 198604.4662 | -67780.8312 | -3168583.4878 | -9168583.4878 | -52.81% | NO
Y4M09 | 132464.3308 | 198932.4776 | -66468.1468 | -3235051.6346 | -9235051.6346 | -53.92% | NO
Y4M10 | 133867.0299 | 199261.0307 | -65394.0008 | -3300445.6354 | -9300445.6354 | -55.01% | NO
Y4M11 | 134946.6305 | 199590.1265 | -64643.496 | -3365089.1314 | -9365089.1314 | -56.08% | NO
Y4M12 | 135646.8922 | 199919.7659 | -64272.8736 | -3429362.005 | -9429362.005 | -57.16% | NO
Y5M01 | 135945.46 | 200249.9496 | -64304.4896 | -3493666.4946 | -9493666.4946 | -58.23% | NO
Y5M02 | 135855.8607 | 200580.6787 | -64724.8179 | -3558391.3125 | -9558391.3125 | -59.31% | NO
Y5M03 | 135426.2953 | 200911.954 | -65485.6587 | -3623876.9712 | -9623876.9712 | -60.4% | NO
Y5M04 | 134710.3326 | 201243.7764 | -66533.4438 | -3690410.4151 | -9690410.4151 | -61.51% | NO
Y5M05 | 133834.8914 | 201576.1469 | -67741.2554 | -3758151.6705 | -9758151.6705 | -62.64% | NO
Y5M06 | 132916.1364 | 201909.0663 | -68992.9299 | -3827144.6003 | -9827144.6003 | -63.79% | NO
Y5M07 | 132074.1011 | 202242.5355 | -70168.4344 | -3897313.0348 | -9897313.0348 | -64.96% | NO
Y5M08 | 131421.966 | 202576.5555 | -71154.5895 | -3968467.6243 | -9968467.6243 | -66.14% | NO
Y5M09 | 131055.9483 | 202911.1271 | -71855.1788 | -4040322.8031 | -10040322.8031 | -67.34% | NO
Y5M10 | 131046.7075 | 203246.2514 | -72199.5439 | -4112522.3469 | -10112522.3469 | -68.54% | NO
Y5M11 | 131433.0328 | 203581.9291 | -72148.8963 | -4184671.2432 | -10184671.2432 | -69.74% | NO
Y5M12 | 132218.379 | 203918.1612 | -71699.7822 | -4256371.0254 | -10256371.0254 | -70.94% | NO

## Executive Summary
GridEdge Compute Center - 5MW Strategic Deployment
Investment Overview
Total CapEx | 6000000
Project Capacity | 5.0 MW
Location | El Salvador Geothermal Corridor
Revenue Performance (Year 1 Average)
Monthly Revenue | 114911.1118
Annual Revenue | 1378933.3412
Operating Performance (Year 1 Average)
Monthly OpEx | 186689.77
Annual OpEx | 2240277.2396
Monthly Net Cash Flow | -71778.6582
Investment Returns
Break-even Month | Not achieved in 5 years
5-Year Cumulative Cash Flow | -4256371.0254
5-Year ROI | -0.7094
Key Assumptions
GPU Utilization | 70-80%
Energy Cost | $0.05/kWh
Facility Uptime | 85%
Bitcoin Price (avg) | $40,000

## Phased Build Plan
Phase | MW Added | Cumulative MW | CapEx Estimate | Target Year | Notes
Phase I | 2.5 MW | 2.5 MW | 3200000 | Q1 2026 | Geothermal, Spa reuse, Modular datacenter
Phase II | 2.5 MW | 5.0 MW | 3500000 | Q4 2026 | Expand GPU capacity, add staff housing
Phase III | 5-10 MW | 10-15 MW | TBD | 2027-2028 | Sovereign AI clusters, Grid services
Total (3 Phases) | 10-15 MW | 15 MW | ~$10-12M | 2026-2028 | Full build-out capacity
Phase I Details
ASIC Mining | 1.5 MW |  |  |  | Bitcoin generation focus
GPU Clusters | 1.0 MW |  |  |  | AI/ML workload hosting
Waste Heat Recovery |  |  |  |  | Spa partnership integration
Geothermal Connection |  |  |  |  | LaGeo PPA for baseload power
Phase II Expansion
Additional GPUs | 1.5 MW |  |  |  | Scale AI hosting capacity
Enhanced ASIC | 1.0 MW |  |  |  | Next-gen mining hardware
Staff Housing |  |  |  |  | On-site accommodation facility
Grid Integration |  |  |  |  | Enhanced grid services capability
Phase III Vision
Sovereign AI | 5-10 MW |  |  |  | National AI infrastructure
Grid Stabilization |  |  |  |  | Frequency regulation services
Export Capacity |  |  |  |  | Regional power market participation

## Financing Options
Asset | Financing Type | Example Lenders/Platforms | Notes
Bitcoin (self-mined) | BTC-backed Line of Credit | Unchained, Ledn, Local El Salvador Lenders | Use freshly mined BTC as collateral for stablecoin loans (Liquid USDt).
GPUs (NVIDIA A6000/H100) | Hardware-backed Leasing | Coreweave, Lambda, Hydra Host | Finance GPU acquisition via lease-to-own or sale-leaseback agreements.
ASIC Miners (S21/T21) | Equipment Financing | Asset-backed loans from crypto-friendly funds | Use the hardware itself as collateral for financing the purchase.
Modular Containers/Infra | Equipment-based Financing | Private credit, off-balance sheet leasing | Collateralize the physical infrastructure for private loans.
Forward Sales | Prepaid GPU Contracts | Direct sales to AI startups, render farms | Sell future GPU access at a discount to fund current OpEx and CapEx.
Carbon Credits | Green Financing | ESG funds, Methane capture grants | Monetize methane flaring partnerships for carbon credits and grant funding.
Sovereign Partnership | Government Grants/Loans | El Salvador National Bitcoin Office | Explore partnerships for building sovereign AI infrastructure, potentially unlocking grants.